# Gain-Scheduled Conductance Programming

## Alpha–Beta Initialization and Adaptive Scaling in Memristor Programming

## 1. Problem Context

In memristor conductance programming, the objective is to drive the device conductance ( G ) from an initial value ( G_0 ) to a desired target ( G_{} ) using electrical pulses. The system is highly nonlinear, device-dependent, and asymmetric for SET and RESET operations. Therefore, fixed pulse parameters or fixed gains often lead to either:

- Overshoot at low target conductance

- Extremely slow convergence at high target conductance

- Oscillations around the target

To address this, the algorithm implements a gain-scheduled adaptive scaling strategy using two parameters:

- ( ): relative-error gain

- ( ): absolute-error gain

The effective scaling factor controlling the pulse strength is

[ K = e_r + e_a ]

where ( e_r ) and ( e_a ) are relative and absolute error terms.

## 2. Definitions and Normalization

Let:

- Initial conductance: ( G_0 = 5~ )

- Maximum conductance: ( G_{} = 250~ )

- Target conductance: ( G_t {60, 100, 150, 200, 250}~ )

Normalized quantities:

[ g_t =  ]

Error terms:

- Relative error (SET case): [ e_r =  ]

- Absolute error: [ e_a =  ]

These definitions are asymmetric and direction-aware, ensuring correct behavior for both SET and RESET.

## 3. Why Initialization Matters

At the first programming attempt, there is no historical information about how the device will respond. Poor initialization of gains leads to:

- Large overshoot (if gains too large)

- Wasted attempts (if gains too small)

Therefore, the gains ( ) and ( ) must be initialized as a function of the target conductance, not chosen arbitrarily.

## 4. Desired Scaling Factor ( K_{} )

Instead of guessing ( ) directly, the algorithm first defines a desired initial scaling factor ( K_{} ).

This represents the intended aggressiveness of the first programming step.

### Linear Gain Scheduling

For SET operations:

[ K_{} = 0.1, K_{} = 2.0 ]

Target mapping range:

[ G_{} = 40~, G_{}^{lin} = 250~ ]

Linear interpolation:

[ t =  ]

[ K_{} = K_{} + (K_{} - K_{}) t ]

This ensures:

- Small targets → gentle programming

- Large targets → aggressive programming

## 5. Solving for ( )

The scaling law is defined as:

[ K = (e_r + g_t e_a) ]

At initialization, ( K = K_{} ), therefore:

[ =  ]

Safety limits are applied:

[ 0.1  ]

## 6. Definition of ( )

The absolute-error gain is defined as:

[ = g_t ]

This choice has deep physical meaning:

- For small targets, ( g_t ) is small → ( ) is small → no runaway

- For large targets, ( g_t ) is large → ( ) is large → faster escape from saturation

- Near target, ( e_a  ) → ( ) naturally vanishes

Safety limit:

[ 0  ]

## 7. Initialization Results (Numerical Table)

| Target (µS) | (g_t) | (K_{des}) | () | () |
| --- | --- | --- | --- | --- |
| 60 | 0.24 | 0.28 | 0.28 | 0.07 |
| 100 | 0.40 | 0.46 | 0.45 | 0.18 |
| 150 | 0.60 | 0.73 | 0.62 | 0.37 |
| 200 | 0.80 | 1.18 | 0.77 | 0.62 |
| 250 | 1.00 | 2.00 | 1.01 | 1.01 |

## 8. Adaptive Update During Programming

At each attempt:

[ K = e_r + e_a ]

### Stuck Detection

If

[ |G_{k} - G_{k-1}| < 0.1 G_k ]

then the device is considered stuck.

### Adaptive Gain Increase

[ (1 + ) ]

[ (1 + 0.5 ) ]

where

[ = 0.05 + 0.20  ]

This ensures slow, controlled escape from stagnation.

## 9. Emergent Behavior

Without any explicit scheduling:

- (K) naturally decreases as ( G G_t )

- Overshoot probability is minimized

- Low and high target conductance are handled by the same control law

This is gain scheduling, not heuristic tuning.

## 10. Key Insight (Summary)

The desired scaling factor ( K_{} ) encodes how hard to push, while ( ) and ( ) encode how to push based on where the device currently is.

This separation is what makes the algorithm robust, scalable, and physically meaningful.

## 11. Final Remarks

This approach is superior to fixed-gain PI/PID control because:

- The system is nonlinear and asymmetric

- The device physics change across the conductance range

- The controller adapts naturally without oscillations

The method is suitable for experimental memristor platforms and scalable to multi-device arrays.